AXICON 15500 BARCODE VERIFIER

The Axicon 15000 series verifiers have been designed to read both two-dimensional and linear barcodes. The system uses a special array of LEDs and a CCD-based sensor to capture each barcode image before it is analysed.  It is able to verify multiple barcodes in the same field of view, whether they are 2D or linear codes, and the user sees the results for each barcode by selecting the relevant barcode on the screen.

QR Code, GS1 QR Code, Data Matrix and GS1 DataMatrix symbols can all be verified, as can any EAN/UPC, ITF-14, GS1-128, Code 128, or Code 39 symbol

The Axicon 15000 series verifiers are powered solely from the USB2 port of a computer, so it is portable when used with a laptop computer.

15500

Field of view: 95mm x 70mm

Smallest x-dimension of 0.200mm (aperture ref 05)

Features & Benefits

ISO/IEC-compliant verification of both linear and 2D barcodes. Each linear symbol is analysed automatically using ten scans through the barcode height, as specified by ISO/IEC 15426-1. Each barcode can be verified at any orientation so using the Axicon 15000 series verifiers requires no special expertise.

The software enables symbology auto-discrimination, automatic variable aperture, scan saving and loading, and display of x-dimension and magnification. The data content of each symbol can also be analysed using optional plugins for the software, which is available in five languages.

Traceability features include the ability to save raw data files which can also be used for remote diagnostic support.  The software is available free of charge, and continually updated to ensure it meets the latest requirements of the relevant ISO/IEC standards, and other applications.

Connectivity

USB2

System Requirements

PC running any currently supported version of Microsoft Windows.

The verifier is supplied as the verifier read-head, its data cable, a CD with the Axicon verifier software (in several languages), an operating manual, a calibration card and compliance certificates in a protective carry case.

PART NO: V415500

PRICE: £4950

Embed code

<iframe width="800" height="500" src="https://www.youtube.com/embed/KZEQ7EfVbPY" frameborder="0" allow="accelerometer; autoplay; encrypted-media; gyroscope; picture-in-picture" allowfullscreen></iframe>

<iframe width="800" height="500" src="https://www.youtube.com/embed/ao7QL0Ws2tA" frameborder="0" allow="accelerometer; autoplay; encrypted-media; gyroscope; picture-in-picture" allowfullscreen></iframe>

<iframe width="800" height="500" src="https://www.youtube.com/embed/HwtBHrVsCMg" frameborder="0" allow="accelerometer; autoplay; encrypted-media; gyroscope; picture-in-picture" allowfullscreen></iframe>

<iframe width="800" height="500" src="https://www.youtube.com/embed/6BDjmRrrjlQ" frameborder="0" allow="accelerometer; autoplay; encrypted-media; gyroscope; picture-in-picture" allowfullscreen></iframe>